Title
Introduction to SNMP
Network Management Workshop
Kuala Lumpur
APRICOT 2010

---
Overview
Overview
- What is SNMP ?
- OIDs
- MIBs
- Polling and querying
- Traps

---
What is SNMP ?
- SNMP – Simple Network Management Protocol
  - Industry standard, hundreds of tools exist to exploit it
  - Present on any decent network equipment
- Query – response based
  - GET / SET
    - Mostly GET is used for monitoring
- Tree hierarchy
  - Query for ”Object Identifiers” (OIDs)
- Concept of MIBs (Management Information Base)
  - Standard and vendor-specific (Enterprise)

---
What is SNMP ?
- UDP protocol, port 161
- Different versions
  - Originally, 1988
  - v1 – RFC1155, RFC1156, RFC1157
    - Original specification
  - v2 – RFC1901 ... RFC1908 + RFC2578
    - Extends v1, new data types, better retrieval methods (GETBULK)
    - Really is version v2c (without security model)
  - v3 – RFC3411 ... RFC3418
- Typically we use SNMPv2
- Terminology:
  - Manager (the monitoring ”client”)
  - Agent (running on the equipment/server)

---
What is SNMP ?
- Typical queries
  - Bytes In/Out on an interface, errors
  - CPU load
  - Uptime
  - Temperature
  - ...
- For hosts (servers or workstations)
  - Diskspace
  - Installed software
  - Running processes
  - ...
- Windows and UNIX have SNMP

---
How does it work ?
- Basic commands
  - GET	(manager -> agent)
    - Query for a value
  - GET-NEXT	(manager -> agent)
    - Get next value (list of values for a table)
  - GET-RESPONSE	(agent -> manager)
    - Response to GET/SET, or error
  - SET	(manager -> agent)
    - Set a value, or perform action
  - TRAP	(agent -> manager)
    - Spontaneous notification from equipment (line down, temperature above threshold, ...)

---
The MIB tree
root
iso(1)
ccitt(0)
joint-iso-ccitt(3)
org(3)
dod(6)
1.3.6.1
internet(1)
directory(1)
mgmt(2)
experimental(3)
private(4)
mib-2(1)
enterprises(1)
system(1)
snmp(11)
host(25)
cisco(9)
interfaces(2)
hrDevice
hrStorage
ip(4)
hrSystem

---
The MIB tree
root
iso(1)
ccitt(0)
joint-iso-ccitt(3)
org(3)
ciscoMgmt(9)
dod(6)
ciscoEnvMonMIB(13)
1.3.6.1
ciscoEnvMonObjects(1)
internet(1)
ciscoEnvMonTemperatureStatusTable(3)
directory(1)
mgmt(2)
experimental(3)
private(4)
ciscoEnvMonTemperatureStatusEntry(1)
mib-2(1)
enterprises(1)
ciscoEnvMonTemperatureStatusValue(3)
cisco(9)
system(1)
snmp(11)
interfaces(2)
ip(4)
...

---
The Internet MIB
- directory(1)	OSI directory
- mgmt(2)	RFC standard objects
- experimental(3)	Internet experiments
- private(4)	Vendor-specific
- security(5)	Security
- snmpV2(6)	SNMP internal

---
OIDs and MIBs
- Navigate tree downwards
- OIDs separated by '.'
  - 1.3.6.1.4.1.9. ...
- OID corresponds to a label
  - .1.3.6.1.2.1.1.5 => sysName
- The complete path:
  - .iso.org.dod.internet.mgmt.mib-2.system.sysName
- How do we convert from OIDs to Labels (and vice versa ?)
  - Use of MIBs files!

---
MIBs
- MIBs are files defining the objects that can be queried, including:
  - Object name
  - Object description
  - Data type (integer, text, list)
- MIBS are structured text, using ASN.1
- Standard MIBs include:
  - MIB-II – (RFC1213) – a group of sub-MIBs
  - HOST-RESOURCES-MIB (RFC2790)

---
MIBs - 2
- MIBs also make it possible to interpret a returned value from an agent
  - For example, the status for a fan could be 1,2,3,4,5,6 – what does it mean ?

---
MIBs - SAMPLE
sysUpTime OBJECT-TYPE
        SYNTAX TimeTicks
        ACCESS read-only
        STATUS mandatory
        DESCRIPTION
        "The time (in hundredths of a second) since the
        network management portion of the system was last
        re-initialized."
        ::= { system 3 }
sysUpTime OBJECT-TYPE
This defines the object called sysUpTime.
SYNTAX TimeTicks
This object is of the type TimeTicks. Object types are specified in the SMI we mentioned a moment ago.
ACCESS read-only
This object can only be read via SNMP (i.e., get-request); it cannot be changed (i.e., set-request).
STATUS mandatory
This object must be implemented in any SNMP agent.
DESCRIPTION
A description of the object
::= { system 3 }
The sysUpTime object is the third branch off of the system object group tree.

---
MIBs - SAMPLE
CiscoEnvMonState ::= TEXTUAL-CONVENTION
        STATUS current
        DESCRIPTION
        "Represents the state of a device being monitored.
        Valid values are:
        normal(1): the environment is good, such as low
        temperature.
        warning(2): the environment is bad, such as temperature
        above normal operation range but not too
        high.
        critical(3): the environment is very bad, such as
        temperature much higher than normal
        operation limit.
        shutdown(4): the environment is the worst, the system
        should be shutdown immediately.
        notPresent(5): the environmental monitor is not present,
        such as temperature sensors do not exist.
        notFunctioning(6): the environmental monitor does not
        function properly, such as a temperature
        sensor generates a abnormal data like
        1000 C.
”

---
Querying SNMP agent
- Some typical commands for querying:
  - snmpget
  - snmpwalk
  - snmpstatus
- Syntax:
  snmpXXX -c community -v1 host [oid]
  snmpXXX -c community -v2c host [oid]
- Let's take an example
  - snmpstatus -c pacn0g2k9 -v1 192.168.1.221
  - snmpget -c pacn0g2k9 -v1 192.168.1.223 .iso.org.dod.internet.mgmt.mib-2.interfaces.ifNumber.0
  - snmpwalk -c pacn0g2k9 -v1 192.168.1.222 ifDescr

---
Querying SNMP agent
- Community:
  - A ”security” string (password) to define whether the querying manager will have RO (read only) or RW (read write) access
  - This is the simplest form of authentication in SNMP
- OID
  - A value, for example, .1.3.6.1.2.1.1.5.0, or it's name equivalent
  - .iso.org.dod.internet.mgmt.mib-2.system.sysName.0
- Let's ask for the system's name (using the OID above)
  - Why the .0 ? What do you notice ?

---
Coming up...
- Using snmpwalk, snmpget
- Configuring SNMPD
- Loading MIBs

---
References
- Basic SNMP at Cisco
  http://www.cisco.com/warp/public/535/3.html
  http://www.cisco.com/univercd/cc/td/doc/cisintwk/ito_doc/snmp.htm
- Wikipedia:
  http://en.wikipedia.org/wiki/Simple_Network_Management_Protocol
- IP Monitor MIB Browser
  http://support.ipmonitor.com/mibs_byoidtree.aspx
  Cisco MIB browser: http://tools.cisco.com/Support/SNMP/do/BrowseOID.do
- Open Source Java MIB Browser
  http://www.kill-9.org/mbrowse
  http://www.dwipal.com/mibbrowser.htm (Java)
- SNMP Link – collection of SNMP resources
  http://www.snmplink.org/
- Net-SNMP Open Source SNMP tools
  http://net-snmp.sourceforge.net/